{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["comentarios_CDR"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"comentarios_CDR","index":0,"n_rows":3,"n_cols":5,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["NOMBRE EMPRESA O REMITENTE","ARTICULO, O NUMERAL DEL DOCUMENTO COMENTADO","COMENTARIO JUSTIFICADO","PROPUESTA AJUSTE","DESCRIPCIÓN ADJUNTO"]
["Consejo Nacional de Operación Eléctrico","Artículo 27","1.         Para el proceso de cálculo de desviaciones, se sugiere considerar un régimen de transición para las plantas de generación variable que actualmente están operando, de tal manera que se les permita empezar a mejorar sus pronósticos con mayor flexibilidad en las tolerancias de desviación horaria. La transición podría estar ligada al ingreso de una capacidad instalada considerable de generación variable al SIN, de acuerdo con los análisis de impacto que ha realizado XM."]
["Consejo Nacional de Operación Eléctrico","Artículo 27","1.         Se sugiere a la Comisión autorizar desviaciones a todas las plantas de generación variable que presenten eventos o situaciones de fuerza mayor."]